| INVITATION TO TENDER | No. | 10441/2011 |
| --- | --- | --- |

The bidder:

| Name: |  |
| --- | --- |
| Address: |  |

| Type of purchasing: |  | Service |  | Material | x | Equipment |  | Construction |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

We are kindly asking you to send us your Bid for:

| No. | Description of the equipment |
| --- | --- |
| 1 | AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR as per enclosed technical description and specification |

The tender documentation is available on the internet:  http://www.ijs.si/ijsw/Objave.

Queries relating to the tender documentation can only be placed through the Public-Procurement Portal of the Official Gazette of the Republic of Slovenia: http://www.enarocanje.si

The bidders can submit their bids in Slovene or English as per enclosed instructions for the bidders and technical specifications of the equipment. Variants are not permitted.

Due date for the submission of the bids is 17 November 2011 by 11.00 a.m.

| Address for the submission of the bids: | Institut “Jožef Stefan” VLOŽIŠČE Jamova cesta 39 SI-1000 Ljubljana Slovenia |
| --- | --- |

Tender documentation has to be submitted in two copies (tied together with a string and sealed in such a way that individual sheets or attachments cannot be added, taken away or replaced at a later stage) in an envelope, on which the following has to be clearly written:

- »NE ODPIRAJ – PONUDBA ZA MERILNIK ZIVEGA SREBRA« - an instruction in Slovene, according to which the envelope should not be opened by the mail service as it includes a bid for the automatic detector systems for mercury speciation in water and air.

- The exact address of the bidder

The public opening of the bids will be held on 17 November 2011 at 12 a.m. at the Jožef Stefan Institute, Jamova cesta 39, Ljubljana. The representatives wishing to be present at the opening, have to present a letter authorising them to attend the event to the selection board prior to the opening of the bids.

We look forward to receiving your bid.

| Ljubljana, | 27 October 2011 |  |  |
| --- | --- | --- | --- |

Institut “Jožef Stefan”

Ljubljana

1. INSTRUCTIONS FOR THE BIDDERS

The public tender is carried out on the basis of Article 30 (point 1a) of the Public Procurement Act (PPA-2) (the Official Gazette of the Republic of Slovenia, Nos.128/06, 16/08, 19/10 and 18/11) in a tendering procedure following the publication of a contract notice.

PrEPARATION AND VALIDITY OF THE BID:

The bid has to be prepared in line with the data from the enclosed specifications. The bid has to be valid until 31 December 2011.

LANGUAGE IN WHICH THE BID SHOULD BE SUBMITTED:

The bid can be submitted in Slovene or English.

TENDER DOCUMENTATION CONSISTS OF THE FOLLOWING FORMS:

- The bid  – FORM 1

- Details about the bidder – FORM 2

- General data concerning the bidder/consortium – FORM 3

- Declaration of compliance with the conditions – FORM 4

- Acting with subcontractors – FORM 5

- Statement of the bidder about providing financial security of the tender – FORM 6

- Sample contract (a completed, signed and stamped sample contract, initialled on each page) – FORM 7

The submitted forms have to be completed, signed and stamped. The entire documentation has to be printed out and signed by the person authorised to represent the bidder.

All costs associated with the preparation and submission of the bid shall be borne by the bidder.

ACTING AS A JOINT VENTURE OR A CONSORTIUM:

A group of economic operators are allowed to submit a bid as a joint venture or a consortium. In doing so, the group of economic operators is not required to assume a specific legal form. However, the group shall submit a Partnership Agreement, stipulating how the public contract awarded within this public-procurement procedure will be executed, specifying, in particular, the leading partner authorized to assume, from the Awarding Authority, the obligations, instructions, and possibly also the payments on behalf of, and for the account of, all the partners, as well as the share and type of services to be performed by each individual partner. The Agreement should clearly stipulate that, in relation to the Contracting Authority, all the partners are collectively and individually liable for the realisation of the entire commitment and each part of it.

Each partner in the group has to meet the competencies requirements from points 1 and 2 of FORM 4. On the other hand, the compliance with the other awarding authority's requirements from the above form shall be examined collectively.

When appropriate, the bidder can, in the case of individual orders, refer to the capacities of another partner within the group, irrespective of the legal nature of the bidder's relation with this partner. In such a case the bidder has to submit, to the awarding authority, a proof of having sufficient funds needed for the completion of the contract. This proof can be a written agreement made for this purpose, giving also the name of the legal entity responsible for communicating with the awarding authority.

acting with subcontractors:

In a subcontracting relationship the prime contractor transfers the execution of the whole or a part of the awarded public contract to the third party, namely a subcontractor. The definition of the subcontractor is explained in point 15a of the first paragraph of Article 2 of the Public Procurement Act (PPA-2).

A subcontractor cannot be a business entity that operates as a company associated with the main contractor in line with the law governing companies. In such a case, direct payments shall be made to the subcontractor, a legal entity or individual that is actually providing, for the company associated with the selected contractor, the goods or services required by the public contract.The selected contractor has to make a contract with this subcontractor, determining the responsibilities and the rights associated with the public contract.

The details about the subcontractor and the services to be carried out by the subcontractor, its amount, value, place and deadline are the mandatory elements of this contract, while direct payments to subcontractors are made in line with PPA-2. The bidder carrying out the contract with one or more subcontractors has to have, in line with Point 9 of Article 71 of PPA-2, contract(s) with the subcontractor(s) made at the time of making the bidder’s contract with the contracting authority or during the duration of this contract. A subcontractor has to submit a copy of such a contract made with its client (the bidder) to the contracting authority in five days after the conclusion of this contract.

In a public procurement contract, whose execution is partially or wholly transferred to subcontractors, the main contractor shall authorize the awarding authority to make direct payments to a subcontractor on the basis of an approved invoice, while the subcontractor is obliged to give its consent to direct payments. Payment terms for the main contractor and its subcontractors are the same.

When acting with subcontractors the bidder has to submit the following forms:

- The bid  – FORM 1

- Details about the bidder – FORM 2

- General data about the bidder and the consortium – FORM 3

- Declaration of compliance with the conditions – FORM 4

- Partnership Agreement (only in the case the bidder acts as a party in a joint venture or a consortium of bidders)

- Acting with subcontractors – FORM 5

- Declaration of compliance with the conditions for a subcontractor – FORM 5.1

- The subcontractor’s consent to direct payments made by the contracting authority to the subcontractor(s) – FORM 5.2

- The authorisation of the bidder allowing the contracting authority to make direct payments to the subcontractor(s) on the basis of approved invoices – FORM 5.3

- Statement of the bidder on providing financial security for the tender – FORM 6

- The completed, signed and stamped sample contract, initialled on each page – FORM 7

The submitted forms have to be completed, signed and stamped. The entire documentation has to be printed out and signed by the person authorised to represent the bidder.

The main contractor involving one or more subcontractors has to have a contract or contracts made at the time of making its contract with the contracting authority or during the duration of this contract.

Regardless of the number of the subcontractors, only the main contractor (the bidder) is liable to the contracting authority for the obligations undertaken within this public procurement.

SUBMITTING DATA TO THE CONTRACTING AUTHORITY:

At the contracting authority’s request, the selected bidder has to submit, in line with the 13th paragraph of Article 71 of PPA-2, the following data during the tendering procedure or during the realisation of the awarded contract:

- data about its founders and partners including dormant and limited partners, shareholders and other owners, together with the ownership shares of the above entities;

- data about the business entities treated as the companies associated with the main contractor in line with the law governing companies.

The selected bidder has to submit the above data in 8 days after the receipt of the awarding authority’s request.

CRITERIA FOR ASSESSING AND EVALUATING THE BIDS:

| No. | Criterion |  | No. of points |
| --- | --- | --- | --- |
| 1 | The bidding price: A = average price of all the bids that meet the requirements. The prices are assessed on the basis of their deviation from A | A ± 3% | 100 |
|  |  | more than 3% to 6% | 90 |
|  |  | more than 6% to 9% | 80 |
|  |  | more than 9% | 70 |
|  |  | less than -3% to -6% | 110 |
|  |  | less than -6% to -9% | 120 |
|  |  | less than -9% | 130 |
| 2 | Detection limit | Automated ambient air analyzer: at least 0.1 ng/m3 for Total Hg (5 L sample) and 5 pg/m3 for RGM and PHg (1200 L sample) | 20 |
|  |  | Automated CVAFS Total Mercury analysis system: 0.05 ng/L | 20 |
|  |  | Automated methyl mercury analysis system: 0.002 ng/L | 20 |
| 3 | Compatibility among units | YES | 10 |
|  |  | NO | 0 |

SELECTION OF THE MOST FAVOURABLE BIDDER:

The awarding authority shall classify the duly submitted bids in compliance with the above criterion and will examine, if the bid evaluated as the most favourable one, is complete and satisfies the required specifications of the equipment as listed in Section 2.

The bidder obtaining the most points out of 200 possible points shall be asked to realise its bid. In the case of two bidders having the same number of points, the bidder obtaining the most points relating to the criterion No. 1 (the bidding price) shall be selected.

| Ljubljana, | 27 October 2011 |  |  |
| --- | --- | --- | --- |

Institut “Jožef Stefan”

Ljubljana

2. TECHNICAL DESCRIPTION AND SPECIFICATIONS OF THE EQUIPMENT

The subject of this public tender is AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

Technical characteristics:

- Automated Ambient Air Analyzer

- Analyte: total gaseous Hg

- continuous monitoring inlet stream

- automatic self calibration

- ability to operate unattended for at least 1 month

- expandability to add integrated modules that can automatically measure reactive gaseous Hg and particulate bounded Hg in air

- measurement method should base on gold preconcentration and atomic fluorescence detection

- detection limit at least 0.1 ng/m3

- sampling cycle: 2.5 – 60 min

- continuous sampling

- carrier gas: argon

- automatic calibration using internal permeation source

- manual calibration injection port should be provided

- windows compatible software for data handling

Automated air mercury speciation unit

- Analyte: reactive gaseous Hg (RGM)

- compatible with automated ambient air analyzer and particulate mercury speciation unit

- includes a separate sample module and a controller module

Automated particulate mercury speciation unit

- Analyte: particulate Hg (PHg)

- compatible with automated ambient air analyzer and air mercury speciation unit

Automated CVAFS Total Mercury analysis system

- dual gold amalgamation system

- CVAFS detection with constant lamp intensity using optical feedback and temperature control

- laminar flow liquid to gas separator

- adaptable to multiple methods (Method 1631, Method 245.7, US EPA IO-5, ASTM D-6350)

- minimal sample carryover with auto-flush function

- automatic shut off

- software for system control and data handling

- detection limit 0.05 ng/L

Methyl mercury analysis system

- highly sensitive ultra stable CVAFS detector

- detection limit of 0.002 ng/L

- built in GC oven with temperature ramping capability

- sample transfer of only gases from the autosampler vial to the analytical trap

- IR trap heating and active cooling utilizes analytical traps made of Tenax or Carbotrap

- able to analyze either distilled or non-distilled samples

Other requirements:

- The equipment should be CE compatible.

- Transport and installation should be included.

- Documentation and manuals should be included.

FORM 1

3. BID

Details about the bidder:

| Name: |  |  |  |
| --- | --- | --- | --- |
| Address: |  |  |  |
| VAT identification number: |  |  |  |
| Bank account and the name of the bank: |  |  |  |
| Contact person: |  |  |  |
| Contact person's E-mail address: |  |  |  |
| Person responsible for signing the contract: podpis pogodbe: |  |  |  |

JOŽEF STEFAN INSTITUTE

Jamova cesta 39

1000 Ljubljana

| BID No.. Place:. Date:. |
| --- |
| On the basis of the invitation to tender No. 10441/2011 of 27 October 2011 we are pleased to submit the following bid: |  |  |  |  |  |  |  |  |  |
| Type of purchasing: |  | Service |  | Material | x | Equipment |  | Construction |  |

| No. | Description of the goods | Quantity | Price | Discount % | Value |
| --- | --- | --- | --- | --- | --- |
| 1 | AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR. | 1 Set |  |  |  |

|  |  |  | TOTAL |  |
| --- | --- | --- | --- | --- |
|  |  |  | DISCOUNT |  |
|  |  |  | VALUE without VAT |  |

| Delivery time (in weeks): |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Payment terms (30 days after issuing the Invoice): |  |  |  |  | 50% after the signing of the contract |
|  |  |  |  |  | 50% after the receipt of the equipment |
| Delivery term: | DDU Ljubljana (price includes delivery to the client's address) |  |  |  |  |
| Warranty period (at least 12 months): |  |  |  |  |  |
| Validity of the bid: |  | 31 December 2011 |  |  |  |

MANDATORY ENCLOSURE:

Brochures including a complete technical description and specification of the equipment, and the supplier’s Offer/Quotation with technical specifications and a list of components included.

|  |  | The bidder: |
| --- | --- | --- |
|  |  | (signature of the representative) (name and surname) |

FORM 2

4. DETAILS ABOUT THE BIDDER

Details about the bidder:

| Name of the bidder: |  |
| --- | --- |
| Address of the bidder: |  |
| Legal representative of the bidder: |  |
| Contact person: |  |
| E-mail of the contact person: |  |
| Telephone number: |  |
| Fax number: |  |
| Website: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |
| Number of the entry in the register of companies: |  |
| Person responsible for signing the contract: |  |

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM  3

4.1  GENERAL DATA CONCERNING THE BIDDER/CONSORTIUM

Acting as a bidder we are submitting:

|  | a) the bid individually, as the sole contract partner |
| --- | --- |
|  | b) a joint bid with the following contract partners: |

| No. | Contract partner | Description of the work | Value | Share in % |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |

Enclosures:

- Partnership Agreement

- Requested details about all the partners of the consortium  (Form 2, Form 4)

This statement is an integral part of, and an annex to the bidder’s application relating to the public tender for the supply of the AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: The bidder checks a) or b) box. If the bidder checks b) box, it should also fill-in

the table for each partner.

FORM  4

4.2 DECLARATION OF COMPLIANCE WITH THE CONDITIONS

The bidder:

| Name: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |
| VAT identification number: |  |  |  | Registration Nr.: |  |
| Name of the Register Court: |  |  |  |  |  |

We hereby declare that we comply with the following conditions:

| 1. | We accept all the requirements from the tender documentation. |
| --- | --- |
| 2. | Neither our company nor our legal representative has never been convicted of the criminal offences determined in the Penal Code (the Official Gazette of the Republic of Slovenia, Nos. 55/08, 66/08, 39/09) or fraud affecting the European Communities’ financial interests within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests. |
| 3. | Our company is not listed in the register of bidders with negative references kept by the Ministry of Finance of Slovenia and for this reason excluded from the public procurement procedures in line with Article 77a of the Public Procurement Act (PPA-2). |
| 4. | We are not subject to a compulsory settlement, bankruptcy or forced termination, or any other similar procedure that would lead to the closure of our activities in line with the sixth paragraph of Article 42 of the Public Procurement Act (PPA-2). |
| 5. | We have never been convicted by a final judgement in any country for an offence arrising from our professional misconduct, and we have never committed any serious breach of the proffesional code. |
| 6. | When providing information in line with the provisions of Articles 41 to 49 of PPA-2, within this or any other previous procedure, we never intentionally gave misleading information nor failed to give the required information. |
| 7. | No member of our management or supervisory boards, or a representative appointed in line with the law on financial management, insolvency proceedings and forced termination, has been, at any time within the two years prior to the deadline for submission of tenders in the concerned public-procurement procedure, a partner with the ownership stake of more than 25%, or a member of a management or supervisory board or a representative of an entity subject to bankruptcy, compulsory settlement or forced termination. |
| 8. | We have paid all the taxes and social-security contributions prior to the deadline for submitting the bid in line with the regulations of the country in which we are established. |
| 9. | We are licensed to provide the service that is the subject of this tender. |
| 10. | In the six months prior to the deadline for submitting the bid, our bank account(s) was (were) never frozen. |
| 11. | We have paid and fulfilled all our obligations due to our subcontractors in previous public procurement procedures. |
| 12. | We assure technical support by our qualified personnel. |

and are giving the following

C O N S E N T

The undersigned agrees that the Jožef Stefan Institute may, as part of the awarding procedure, obtain the data from the official records at

(please, state the name of the competent authority or authorities for the confirmation of the above statements)

needed for checking the fulfilment of the requirements from the tender documentation relating to the AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 5

5. ACTING WITH SUBCONTRACTORS

Acting as a bidder we are submitting the bid:

|  | a) individually, without subcontractors |
| --- | --- |
|  | b) with the following subcontractors: |

| Nr. | Subcontractor | Description of the work | Value | Share in % |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |

Enclosures: requested proofs for all partners (Form 5.1 and Form 5.2 – for the subcontractors,

Form 5.3 – for the main contractor)

This statement is an integral part of, and an annex to the bidder’s application relating to the public tender for the supply of the AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: The bidder checks a) or b) box. If the bidder checks b) box it should also fill in

the table for each partner.

FORM  5.1

5.1 DECLARATION OF COMPLIANCE WITH THE CONDITIONS

FOR A SUBCONTRACTOR

The subcontractor:

| Name: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |
| VAT identification number: |  |  |  | Registration No: |  |
| Name of the Register Court: |  |  |  |  |  |

We hereby declare that we comply with the following conditions:

| 1. | We are not subject to a compulsory settlement, bankruptcy or forced termination, or any other similar procedure that would lead to the closure of our activities. |
| --- | --- |
| 2. | No member of our management or supervisory boards, or a representative appointed in line with the law on financial management, insolvency proceedings and forced termination, has been, at any time within the two years prior to the deadline for submission of tenders in the concerned public-procurement procedure, a partner with the ownership stake of more than 25%, or a member of a management or supervisory board or a representative of an entity subject to bankruptcy, compulsory settlement or forced termination. |
| 3. | We have paid all the taxes and social-security contributions prior to the deadline for submitting the bid in line with the regulations of the country in which we are established. |
| 4. | We accept all the requirements from the tender documentation. |

and are giving the following

C O N S E N T

The undersigned agrees that the Jožef Stefan Institute may, as part of the awarding procedure, obtain the data from the official records at

(please, state the name of the competent authority or authorities for the confirmation of the above statements)

needed for checking the fulfilment of the requirements from the tender documentation relating to the AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

|  |  | The subcontractor: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: The bidder, who does not act with subcontractors, does not need to submit this

form.

FORM 5.2

  - CONSENT OF THE SUBCONTRACTOR

C O N S E N T

of the subcontractor to direct payment

| Subcontractor |  |
| --- | --- |

We give consent to the Jožef Stefan Institute, the Contracting Authority, to make direct payments to us based on the invoices presented to the Contracting Authority by the main contractor.

This statement is an integral part of, and an annex to the bidder’s application relating to the public tender for the supply of the AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

|  |  | The subcontractor: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: The bidder, who does not act with subcontractors, does not need to submit this

form.

FORM 5.3

  - AUTHORISATION OF THE BIDDER

A U T H O R I S A T I O N

We authorise the Contracting Authority to make direct payments to the subcontractor, based on the invoices presented to the Contracting Authority by the main contractor.

This statement is an integral part of, and an annex to the bidder’s application relating to the public tender for the supply of the AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: The bidder, who does not act with subcontractors, does not need to submit this

form.

FORM 6

6.  STATEMENT OF THE BIDDER ON PROVIDING FINANCIAL

SECURITY OF THE TENDER

Company:

Address:

We hereby state that in the case of winning the contract, we will submit the following bonds to the contracting authority:

- the Performance Bond corresponding to 5% of the total contractual value without the VAT, valid for at least one additional day after the expiry of the deadline for the completion of the business deal;

- the Warranty Bond corresponding to 5% of the total contractual value without the VAT, valid for one additional day after the expiry of the warranty period set in the warranty certificates of the supplier.

The above guarantees can be obtained after presenting the relevant contract.

This statement is an integral part of, and an annex to the bidder’s application relating to the public tender for the supply of the AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 7

SAMPLE CONTRACT

Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana, Slovenia, represented by the Director, prof. dr. Jadran Lenarčič, henceforth referred to as “the Client”, and

………………………………………………………………….., represented by the Director, ………….,

henceforth referred to as “the Supplier”,

have agreed on the following

C O N T R A C T

Article 1

SUBJECT OF THE CONTRACT

The contracting parties have established that, in line with the Public Procurement Act, the Client awarded the contract to the most cost-effective bidder with regard to the realisation of the supply requirement expressed in the public tender published on the Public Procurement Portal of the Republic of Slovenia under the reference number JN12373/2011.

With this contract the Client and the Supplier agree on their mutual rights and obligations, necessary for the smooth operation of purchasing and selling the following device:

AUTOMATIC DETECTOR SYSTEMS FOR MERCURY SPECIATION IN WATER AND AIR

specified, in detail, in the pro-forma invoice with the ref. number ………..... as of ………….... that is an integral part of this contract.

Article 2

VALUE OF THE CONTRACT

The value of the above equipment is …….………….. . The price does not include the VAT.

Article 3

DELIVERY TERMS

The delivery period for the equipment that is the subject of this contract is ………......... after the date of the contract.

The Supplier shall provide, without additional cost to the Client, transportation including insurance coverage at the Client’s address. The Supplier shall notify the Client of the intended delivery by fax, e-mail, in writing or by telephone, at least 3 working days prior to the delivery.

The Client shall sign the handover note after the equipment has been correctly delivered and the Supplier has presented to the Client the warranty certificates and the Warranty Bond.

The Supplier shall provide the delivery of the equipment with his own professionally qualified staff or with the subcontractors, listed in tender documentation. If the Client finds that the work is carried out by the subcontractor not listed in the tender, he is entitled to cancel the contract and to realize the Performance Bond. The Supplier reserves the right to verify any time subcontractor employees performing work. All employees are required to give credible information.

Article 4

PAYMENT TERMS

The contractor shall issue the invoices to the client in the following order:

- for 50% of the contractual amount after the signing of the contract,

- for 50% of the contractual amount after the contractor receives the equipment

The Client is obliged to pay an invoice for the goods, i.e., the equipment, within 30 days of the correct issuing of the invoice.

The contracting parties agree that, in the case of a late payment, the Client has to pay the default interest.

The Supplier has to enclose, to its own invoice, any invoices issued by the subcontractor(s) that the Supplier had previously approved of. By signing the contract, the Supplier authorises the Client to make direct payments to the subcontractor(s) on the basis of approved invoices and an appropriately concluded contract of assignment. When acting together with one or more subcontractors, the Supplier shall make a contract or contracts with the subcontractor(s) specifying, in detail, the type and scope of the activities carried out by the subcontractor(s) and the price(s) charged for the provision of the concerned goods or services. The Suppler is fully liable for the realisation of the tasks carried out by the subcontractor(s), as if the supplier had carried them out by itself, and the client’s approval of the subcontractor(s) does not reduce the Supplier’s responsibility for an efficient and timely realisation of the contractual services relating to the supply of the equipment. At the same time the subcontractor(s) also agree(s) that the Client makes direct payments to the Subcontractor(s).

If, after the conclusion of this public contract, the Supplier replaces its subcontractor or makes a contract with another subcontractor, the Supplier shall submit the following documents to the Client within 5 days of this change:

- a written statement that all uncontested obligations to the previous subcontractor have been settled;

- a written authorisation to the Client to make direct payments to the new subcontractor for the services provided;

- a written consent of the new subcontractor to direct payments.

Article 5

DOCUMENTATION

The Supplier will submit to the Client the following documentation:

- Invoice

- Delivery note (with an exact list of delivered parts, data about the gross and net weight)

- Technical documentation and instructions for use

- Precise installation instruction

- Handover note – final acceptance certificate

- Warranty certificate

It is preferable for the documentation to be in Slovene or English.

Article 6

BANK GUARANTEES

To guarantee a successful realisation of the contractual obligations, within 10 days of the conclusion of this contract, the Supplier shall submit to the Client the Performance Bond corresponding to 5% of the total contractual value, without the VAT, which has to be valid for at least one additional day after the deadline for the completion of the business deal.

With respect to eliminating the errors during the warranty period, when signing the handover note, the Supplier shall submit to the Client the Warranty Bond corresponding to 5% of the total contractual value, without the VAT, which has to be valid for one additional day after the expiry of the warranty period determined in the warranty certificate.

Article 7

SUPPLIER GUARANTEES

The responsibility for keeping the equipment undamaged is transferred from the Supplier to the Client once the equipment is delivered to the Client.

The Supplier guarantees to the Client:

- that the equipment is new, not used and free of any actual and legal defects;

- that the supplied equipment functions perfectly and that it complies fully with all technical descriptions, characteristics and specifications, provided by the Client;

- that the Client shall acquire all the rights related to the equipment, while the Supplier shall duly perform all the obligations related to the equipment.

The Supplier provides the Client with a warrantee to cover the quality of the equipment and its smooth operation at least to an extent equal to the extent of the warrantee given by the producer of the equipment to the Supplier, i.e., ……...years following the date of the receipt of the equipment.

During the warrantee period the equipment can be tested and repaired at the Supplier’s premises.

If possible the Supplier shall provide on request of the client an equivalent substitute piece of equipment or a part of the equipment for the time during which the equipment is being repaired. But if not possible the warranty period shall be extended by a time equal to the duration of the repair work.

All transport costs and other costs relating to the repair work made during the warranty period are charged to the Contractor.

Article 8

ANTI-CORRUPTION CLAUSE

If it is found that, during the execution of the public tendering, on the basis of which this contract has been made, or during the execution of this contract, anyone acting in the name of – or on the account of – the Supplier, has promised, offered or given any undue advantage to the Client (the contracting authority), or those employees that had a decisive influence on the choice of the Supplier, in order:

  - to win this public contract,

  - to conclude this contract under more favourable conditions,

  - to omit due diligence in the supervision of the contract implementation,

  - to carry out any other act or omission causing damage to the Client or allowing the Client or its employees to obtain an undue advantage,

this contract will be void.

In the case of an alleged existence of the conditions from the first paragraph of this article or from a notification of the Commission for the Prevention of Corruption, or any other responsible body, relating to their alleged existence, the Client shall initiate the proceedings for invalidity of the contract from the first paragraph of this article, or any other measures, in line with the regulations of the Republic of Slovenia.

Article 9

FINAL PROVISIONS

The contracting parties shall determine all the amendments to this contract, after a previously reached agreement, with the annexes to this contract.

The contracting parties shall resolve any disagreement relating to the realisation of this contract by common consent.

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana.

This contract comes into force on the day when it is signed by both contracting parties, provided that the supplier submits the Performance Bond within the deadline determined in Article 7 of this contract.

The contract is drawn up in four identical copies so that each contracting party receives two copies.

| CLIENT: |  | SUPPLIER |
| --- | --- | --- |
| Jožef Stefan Institute |  |  |
| Director: |  | Director: |
| Prof. Dr. Jadran Lenarčič |  |  |
| Date: |  | Date: |

We herewith declare that the format of this sample contract is acceptable for the bidder.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |