PUBLIC-TENDER DOCUMENTATION

IN ACCORDANCE WITH THE LOW-VALUE PROCEDURE

»SUPPLY AND INSTALLATION OF

MODULAR SPECTROFLUOROMETER«

Internal reference number of the public tender: JN7/2016

Ljubljana, June 2016

CONTENTS

- Invitations to tender

- Instructions for the bidders

- Technical documentation of the public tender

- Details about the bidder – FORM 1

General data about the bidde and the consortium – FORM 1.1

Acting with subcontractors – FORM 2

The subcontractor’s authorisation to direct payments made by the contracting authority to the subcontractor(s) and consent – FORM 2.1

- The bid – FORM 3

- Forms for establishing the capacities of a bidder

- FORM  4.1 – Declaration of compliance with the conditions

- FORM  4.2 – Statement of the bidder for obtaining personal information from

official records

- FORM  4.3.1 – Promissory note for the seriousness of the bid statement

- FORM  4.3.2 – Bid Bond for seriousness of the bid

- Sample contract – FORM 5

- Envelope – FORM 6

- INVITATION TO TENDER

The contracting authority Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana, tax number SI55560822, registration number 5051606, bank account: 01100-6030344242 registered with the Public Payment Administration (PPA) Ljubljana, invites interested bidders to submit their written tender in accordance with this public tender documentation.

Subject of the contract is »Supply and installation of modular spectrofluorometer«.

The public tender is carried out in accordance with Article 47 of the Public Procurement Act (official consolidated text PPA-3, the Official Gazette of the Republic of Slovenia, Nos.91/2015 hereinafter PPA-3) as the low-value public procurement procedure.

We invite you to submit your bid for this tender in accordance with the instructions for bidding.

The bids have to be prepared in line with the tender documentation, fulfilling all the conditions for the participation in this public tender.

Before the deadline for the submission of the tenders, the contracting authority may amend the tender documents. The contracting authority shall make all the amendments to the tender documentation five days before the current deadline at the latest. Any such amendment shall be an integral part of the tender documentation and shall be submitted through the Public-Procurement Portal. If necessary, the contracting authority shall extend the deadline for submitting the bids to make it possible for the bidders to consider the amendments.  In the case of an extended deadline for submitting the bids all the rights and obligations of the contracting authority and the bidders shall relate to the new dates arising from the extended deadline.

| Ljubljana, June 2016; Institut “Jožef Stefan” Ljubljana. |  |  |
| --- | --- | --- |

- INSTRUCTIONS FOR THE BIDDERS

  - THE CONTRACTING AUTHORITY

jožef stefan institute is inviting all interested bidders to submit their bids in line with the tender documentation.

  - the code and subject of the public tender

Internal reference No.: JN7/2016

Subject:»SUPPLY AND INSTALLATION OF MODULAR SPECTROFLUOROMETER«

  - implementation of the tender

The public tender is carried out on the basis of Article 47 of PPA-3 (Official Gazette of RS, no. 91/2015) as low-value public procurement procedure. The contracting authority shall select the bid and make a contract with the respective bidder on the basis of the conditions and criteria described below.

  - ACCESS to the tender documentation

The forms from the tender documentation (TD) are available at http://www.ijs.si/ijsw/Objave.

  - the bidding procedure

Any individual or legal entity registered for the service that is the subject of this tender and has all the permits required for carrying out this service can submit a bid to this tender.

2.6 THE LANGUAGE OF THE BIDS

The bidders should submit their bids in Slovene or English.

  - PREPARATION OF THE BIDS

To prepare their bids, the bidders should give all the details required with the attached specification. The bids should be valid till 30 September 2016 or at least 90 days from the deadline for submission of the bids.

2.8  A JOINT BID

A bid may be submitted by a group of contractual partners. This group shall submit a Partnership Agreement stipulating how the public contract awarded within this public-procurement procedure will be executed, specifying, in particular, the leading partner authorized to assume, from the Contracting Authority, the obligations, instructions, and possibly also the payments on behalf of, and for the account of, all the partners, as well as the share and type of services/goods to be provided by each individual partner. The Agreement should clearly stipulate that, in relation to the Contracting Authority, all the partners are collectively and individually liable for the realisation of the entire commitment and each part of it, in accordance with paragraph 3 of Article 81 of the PPA-3.

All the partners in a group have to meet the conditions for the recognition of their competencies with respect to their legal statuses (they must meet all the conditions in section 2.11.1.) and the first point requirement 2.11.2. PROFESSIONAL CAPACITY OF THE BIDDER the compliance with the other contracting authority's conditions for the recognition of competencies shall be examined collectively for the entire group of partners.

2.9  A BID INVOLVING SUBCONTRACTORS:

In a subcontracting relationship the main contractor transfers the execution of the whole or a part of the awarded public contract to the third party, namely, a subcontractor. The definition of a subcontractor is given in point 1 of the Article 94 of the PPA-3.

If the tenderer offers the execution of the contract by subcontractor(s), it must complete the FORM 2 and FORM 2.1 in which the following required data is provided:

- list of all subcontractors (each subcontractor should meet all the requirements under point  2.11) and type of work that the subcontractor will be undertaking,

- contact information and legal representatives of subcontractors,

- completef forms FORM 2 and FORM 2.1 for each subcontractor in in accordance with Article 79 of the PPA-3

A subcontractor cannot be a business entity that operates as a company associated with the main contractor in line with the law governing companies. In such a case, direct payments shall be made to the subcontractor, a legal entity or individual that is actually providing, for the company associated with the selected contractor, the goods or services required by the public contract. The selected contractor has to make a contract with this subcontractor, determining the responsibilities and the rights associated with the public contract.

In a public procurement contract, whose implementation is partially or wholly transferred to subcontractors, the main contractor shall authorize the contracting authority to make direct payments to a subcontractor on the basis of the subcontractor’s invoice, previously approved of by the main contractor, or on the basis of some other proof of the completion of a service. On the other hand, the subcontractor is obliged to give its consent to direct payments. Deadlines for the payments made to the main contractor and its subcontractors are the same.

When acting together with one or more subcontractors, the Supplier shall make a contract or contracts with the subcontractor(s) specifying, in detail, the type and scope of the activities carried out by the subcontractor(s) and the price(s) charged for the provision of the concerned goods or services. The Suppler is fully liable for the realisation of the tasks carried out by the subcontractor(s), as if the supplier had carried them out by itself, and the client’s approval of the subcontractor(s) does not reduce the Supplier’s responsibility for an efficient and timely realisation of the contractual services relating to the supply of the equipment.

If, after the conclusion of this public contract, the Supplier replaces its subcontractor or makes a contract with another subcontractor, the Supplier shall submit the following documents to the Client within 5 days of this change:

- a written statement that all uncontested obligations to the previous subcontractor have been settled;

- a written authorisation to the Client to make direct payments to the new subcontractor for the services provided;

- a written consent of the new subcontractor to direct payments.

2.10  COMPLETION OF THE BID – PERMISSIBLE OFFER:

A permissible bid consists of the following forms submitted in the following order:

  - FORM 1 – Details about the bidder

  - FORM 2 – Acting with subcontractors

  - FORM 3 – The bid

  - forms for establishing the capacities of a bidder – FORMS 4.1 to 4.3 together with the attached proofs of fulfilling the conditions

  - the completed, signed and stamped sample contract initialled on each page – FORM 5

  - FORM 6 – Envelope

Only when acting as consortium and/or with subcontractors the bidder has to submit the following forms:

  - FORM 1.1 – General data about the bidder and the consortium

  - Partnership Agreement (only in the case the bidder acts as a party in a joint venture or a consortium of the bidders)

  - FORM 2 – Acting with subcontractors

  - FORM 2.1 – The subcontractor’s authorisation to direct payments made by the contracting authority to the subcontractor(s) and consent

  - FORM 3 – The bid

  - forms for establishing the capacities of a bidder – FORMS 4.1 to 4.3 together with the attached proofs of fulfilling the conditions

  - the completed, signed and stamped sample contract initialled on each page – FORM 5

  - FORM 6 – Envelope

These documents have to be put together in the above order (they can be photocopies), tied together with a string and sealed in such a way that individual sheets or attachments cannot be added, taken away or replaced at a later stage. The submitted forms have to be signed and stamped. The entire documentation has to be printed and signed by the person authorised to represent the bidder.

In line with the 6th paragraph of Article 14 of the Integrity and Prevention of Corruption Act (the Official Gazette of the Republic of Slovenia, Nos. 45/10, 26/11 and 43/11; ZIntPK), the selected bidder is obliged to submit, prior to signing the contract and at the request of the Jožef Stefan Institute, the awarding authority, a statement or details about the natural or legal entities owned by the selected bidder, including the silent partners and business entities that are considered to be associated with the selected bidder in line with the provisions of the law governing companies. If the bidder submits a false statement or gives untrue information about the required details, the contract shall be annulled.

In line with point 6 of Article 911 of PPA-2, the selected bidder shall submit, within 8 days of the receipt of the request, the details about:

- its founders, partners, including silent partners, shareholders, limited partnerships or other owners, as well as the equity shares of these entities;

- business entities that are considered to be associated with the selected bidder on the basis of the law governing companies.

The bidder who submits a bid, under criminal and material accountabilityguarantee that all the information and documents are true, and that the enclosed document photocopies are equal to the originals. Otherwise, the bidder is liable to the contracting authority for any damage which he has suffered.

2.11  GROUNDS FOR EXCLUSION OF THE BID

| 1. | Tenderer or his duly authorized representative (if legal person) has not been convicted of any criminal offenses that are defined in Penal Code (Official Gazette of RS, no. 50/12-official consolidated text, 6/16 - corr., And 54/15; hereinafter referred to as CC-1): – Terrorism (Article 108 of the KZ-1), – Financing of Terrorist Activities (Article 109 of the KZ-1), – Incitement and Public Glorification of Terrorist Activities (Article 110 of the KZ-1), – Conscripting and Training for Terrorist Activities (Article 111 of the KZ-1), – Enslavement (Article 112 of the KZ-1), – Trafficking in Human Beings (Article 113 of the KZ-1), – Acceptance of Bribe during the Election or Ballot (Article 157 of the KZ-1), – Violation of Fundamental Rights of Employees (Article 196 of the KZ-1), – Fraud (Article 211 of the KZ-1), – Abuse of a Position of Monopoly (Article 225 of the KZ-1), – False Bankruptcy by Fraud or Business Negligence (Article 226 of the KZ-1), – Defrauding Creditors (Article 227 of the KZ-1), – Business Fraud (Article 228 of the KZ-1), – Fraud to the Detriment of the European Union (Article 229 of the KZ-1), – Fraud in Obtaining Loans or Benefits (Article 230 of the KZ-1), – Fraud in Securities Trading (Article 231 of the KZ-1), – Deception of Purchasers (Article 232 of the KZ-1), – Unauthorised Use of Another's Mark or Model (Article 233 of the KZ-1), – Unauthorised Use of Another's Patent or Topography (Article 234 of the KZ-1), – Forgery or Destruction of Business Documents (Article 235 of the KZ-1), – Disclosure and Unauthorised Acquisition of Trade Secrets (Article 236 of the KZ-1), – Breaking into Business Information System (Article 237 of the KZ-1), – Abuse of Insider Information (Article 238 of the KZ-1), – Abuse of Financial Instruments Market (Article 239 of the KZ-1), – Abuse of Position or Trust in Business Activity (Article 240 of the KZ-1), – Unauthorised Acceptance of Gifts (Article 241 of the KZ-1), – Unauthorised Giving of Gifts (Article 242 of the KZ-1), – Counterfeiting Money (Article 243 of the KZ-1), – Counterfeiting and Use of Counterfeit Stamps of Value or Securities (Article 244 of the KZ-1), – Money Laundering (Article 245 of the KZ-1), – Presentation of Bad Cheques and Abuse of Bank or Credit Cards (Article 246 of the KZ-1), – Use of a Counterfeit Bank, Credit, or Other Card (Article 247 of the KZ-1), – Fabrication, Acquisition and Disposal of Instruments of Forgery (Article 248 of the KZ-1), – Tax Evasion (Article 249 of the KZ-1), – Smuggling (Article 250 of the KZ-1), – Abuse of Office or Official Duties (Article 257 of the KZ-1), – Abuse of Public Property (Article 257.a of the KZ-1), – Disclosure of Classified Information (Article 260 of the KZ-1), – Acceptance of Bribes (Article 261 of the KZ-1), – Giving Bribes (Article 262 of the KZ-1), – Accepting Benefits for Illegal Intermediation (Article 263 of the KZ-1), – Giving Gifts for Illegal Intermediation (Article 264 of the KZ-1), – Criminal Association (Article 294 of the KZ-1). The proof: Declaration of compliance with the conditions (FORM 4.1) or ESPD |
| --- | --- |
| 2. | The Bidder fulfills the obligations related to taxes and other monetary non-fiscal obligations pursuant to the law regulating of the financial administration, collected by the tax authority in line with the provisions of the country in which we have our registered office or in Member State of the Contracting Authority and we have no outstanding liabilities as at the day of submitting the bid worth EUR 50 or more. As at the day of submitting the bid, we have obtained all accounts of tax deductions for the incomes arising from employment relationships for the period of the last five years. The proof: Declaration of compliance with the conditions (FORM 4.1) or ESPD |
| 3. | On the deadline for the submission of bids the Bidder is not excluded from the public award procedures due to being included in the record of entities with negative references, as defined in Article 110 of the ZJN-3. The proof: Declaration of compliance with the conditions (FORM 4.1) or ESPD |
| 4. | In the last three years prior to the expiry of the deadline for submitting the bids, the Bidder has not been find twice for an offence related to the payment for work with a final decision of the competent authority of the Republic of Slovenia or another Member State or a third country. The proof: Declaration of compliance with the conditions (FORM 4.1) or ESPD |
| 5. | The contracting authority may exclude from participation in a procurement procedure an economic operator also in the following cases: a) where the contracting authority can in any way prove breach of its obligations of environmental, social and labour law; b) if the above operator has not been initiated against insolvency or compulsory dissolution under the law regulating the insolvency or compulsory dissolution procedures, or liquidation under the law, regulating companies; if its assets or business are not managed by a court; if its business activities have not been suspended; or if no procedure has been initiated against an economic operator under the provisions of another country and no situation has arisen with the same legal consequences; c) if the contracting authority may, by appropriate means proves severe violation of professional rules that would undermine its integrity; č) if the contracting authority may reasonably conclude, that the economic operator has with other operators entered into an arrangemenet whose object or effect the prevention, restriction or distortion of competition. It is considered, that such conclusion of the Contracting Authority is justified, if the authority, responsible for the protection of competition on the basis of the Contracting Authority's application notifies within 15 days the Contracting Authority, that they will start with the infringement proceedings; d) if a conflict of interest under the third paragraph of Aricle 91 of the PPA-3 can not be effectively remedied by other, less restrictive measures; e) if the distortion of competition caused by previous economic operators' participation in the preparation of the procurement procedure in accordance with Article 65 of this PPA-3 law can not be effectively remedied by other, less restrictive measures; f) if past public contracts signed with the Contracting Authority did not involve significant or constant deficiencies in the fulfilment of key obligations, due to which the Contracting Authority would early terminate the order or contract or claim damage compensation or enforce other comparable sanctions. g) if the economic operator is guilty of placing serious misrepresentation in supplying the information required for verification of the existence of grounds for exclusion or compliance with the conditions for participation, or if it failed to disclose this information, or if unable to provide evidence required in accordance with Article 79 this Act; h) if the economic operator tried to influence the decision of the Contracting Authority or obtain confidential information which could have an advantage in the procurement procedure, or submitted by negligence misleading information, which could have a significant impact on decisions concerning exclusion, selection or awarding the contract. The proof: Declaration of compliance with the conditions (FORM 4.1) or ESPD |
| 6. | The Bidder agrees that a Contracting authority may, as a part of the awarding procedure, obtain data from the official records needed for checking the fulfilment of the requirements from the tender documentation of persons who are authorized to represent the Bidder. The proof: Statement of the bidder for obtaining personal information from official records (FORM 4.2) |

2.12   CONDITIONS FOR PARTICIPATION

2.12.2. PROFESSIONAL CAPACITY OF THE BIDDER

| 1. | The bidder has a valid registration and all the necessary licences issued by the competent authorities for performing the activity that is the subject matter hereof. The proof: Declaration of compliance with the conditions (FORM 4.1) or ESPD |
| --- | --- |

2.12.3. OTHER CONDITIONS

| 1. | The bidder submits financial security for seriousness of the application in amount of 4.000,00 euros. The proof: Promissory note or Surety bond of the insurance company – FORM 4.3.1 and Promissory note or FORM 4.3.2 |
| --- | --- |

In all cases 1 copy of a proof is sufficient, even when a particular proof is mentioned several times!

With respect to all the above documents, which can be submitted as photocopies, the contracting authority can, at a later stage, request the original copies that the bidder has to submit for viewing to the contracting authority in a period of 3 days. Irrespective of the required age of the documents, they have to disclose the status of the bidder that is legally relevant with respect to the conditions on the day of submitting the bid.

The contracting authority shall obtain the data from the official records by itself and on the basis of the received consent of the bidder. The contracting authority can also consider the data from the official records that the bidder obtained or submitted during the other public-tender procedures if these records are not older than 4 months.

If the country where the bidder is established cannot issue the proofs, or documents, required by the tender documentation, the bidder can, in line with Article 42 of PPA-2, submit an appropriate sworn statement given by the bidder or by a witness in the presence of a judicial or administrative authority, a notary, or an authorised body representing the commercial entities in the bidder’s country.

2.13 THE BIDDING PRICE

All the prices have to be expressed in euros, covering all the costs for the realisation of the relevant public contract. The final price has to include all its constituent elements. The VAT has to be indicated separately (for the bidders from Slovenia).

In its pro-forma invoice a bidder enters prices for individual items in euros, with a maximum of two decimal places. If a bidder fails to enter the price, it is assumed that the price is zero (0) euro. The bidder may not later change the pro-forma invoice.

2.14  PROCEDURES AND THE MODE OF ASSESSING THE BIDS:

The selection board will classify the timely submitted bids in line with the criteria, verify in terms of the appropriateness of ensuring the awarding authority requirements, provided that all requirements are fulfilled.

For this to be the best according to the criteria, the contracting authority will check whether there are grounds for excluding the most favorable bidder and whether the bidder meets the conditions for participation.

The contracting authority may, before selection, require to provide adequate evidence to prove the facts stated in the declarations submitted in the tender. The Contracting Authority will before adopting a decision to award the contract check the existence and content of the data from the most advantageous offers and other information from the bid.

2.15  CRITERIA FOR ASSESSING AND EVALUATING THE BIDS:

The contracting authority will award the contract based on the most economically advantageous tender. Timely submitted bids will be assessed in accordance with the criteria specified below.

For the selected offer, which will receive the highest number of points, the contracting authority will follow the verification process and found to be admissible.

1.)  The lowest price of the bidder in 3. TECHNICAL SPECIFICATIONS will result in the score of

100 points.

2.)  Points of the bidders with higher price for 3. TECHNICAL SPECIFICATIONS will be calculated                    by the following formula: (lowest price/bidder price)*100

3.)  Pulsed Xe lamp allows repetition rates > 90 Hz:  +1 point

4.)  Fine positioning of front-face sample holder possible from outside the sample chamber:  +2 points

5.)  Data acquisition electronics with 3 independent channels:  +1 point

6.)  Software allows reconvolution of up to 4 exponentials from time-resolved data:  +2 points

7.)  2nd year of warranty covers light sources and detectors: +2 points

8.)  3rd year of system warranty  (can exclude light sources and detectors): +2 points

9.)  3rd year of warranty covers also light sources and detectors: +2 points

- example of bids with equal to the best results:

In the event that two or more bidders after evaluating received the same number of points, the contracting authority will select the one which will offer more favorable warranty terms and conditions (the sum of the points referred to in indents 7-9).

If the offer is still not possible to choose the following criterion offered functionality of the indents 6; then 4 and 3.

If they are after that two offers tied, the offer with a lower contract price will be selected.

2.16  QUERIES RELATING TO THE TENDER DOCUMENTATION

Communication with the bidders concerning the queries about the tender and the preparation of a bid shall be organised through the Public-Procurement Portal of the Official Gazette of the Republic of Slovenia: www.enarocanje.si.

Information provided by the contracting authority or through the procurement portal shall be, in accordance with the paragraph 2 of Article 67 of PPA-3 understood as amendment, supplement or clarification regarding the award of the contract, if the content of this additional information results in changing this documentation, or if the explanation eliminates the ambiguity of the statements in this document or public announcement.

2.17  DEADLINES FOR ANSWERING THE QUERIES ABOUT THE TENDER DOCUMENTATION

The queries about the tender documentation or any other query about the call for tender placed through the Public-Procurement Portal by 10.00 am on 17 June 2016 shall be considered as timely. After this time, the contracting authority shall nor answer any queries about the tender.

2.18  SUBMISSION AND DELIVERY OF THE BID:

A bidder shall fill in the form included in FORM 6 – SUBMISSION OF THE BID, entering all the required details, and stick the form on the envelope in which the bid shall be sent off.

| Address for the submission of the bids: | Institut “Jožef Stefan” VLOŽIŠČE Jamova cesta 39 SI-1000 Ljubljana Slovenia |
| --- | --- |

The timely submitted bids will be those delivered by 9.00 am on 22 June 2016 or sent by post as registered mail with acknowledgement of receipt and received by the contracting authority by the above date.

2.19 PREPARATION AND MARKING OF THE BID

The bidding documentation has to be typed or written with a legible and indelible writing. All the documents have to be tied together with a string and sealed in such a way that they cannot be taken away, except for the form included in FORM 6 – SUBMISSION OF THE BID, that the bidder shall stick to the envelope. If the bidding documents are not tied with a  string, the contracting authority shall tie them during the opening of the bids.

It is desirable that the bidder submits the bidding documentation in a folder of a size suitable for the documents and in such a way that individual sections are separated by ordinary sheets or cardboard sheets with individual headings of the sections or the numbers of the sections written on them. In the case when a bidder submits the bid in several folders, these should be marked with serial numbers. In the case of a joint bid or a bid with a subcontractor, the bidder should first file its own individual documents, followed by the documents of the other bidder involved in the joint bid or the documents of the subcontractor (e.g., first the statement of the bidder, then the statement of the subcontractor, etc.).

The bidder has to put the bidding documentation in an envelope, i.e., in packaging of an appropriate size. A filled in form from FORM 6  – SUBMISSION OF THE BID – should be stuck to the envelope.

2.20 THE PUBLIC OPENING OF THE BIDS

The public opening of the bids will be held on 22 June 2016 at 10:00 at the JOŽEF STEFAN INSTITUTE, Jamova cesta 39, Ljubljana – in the conference room.

The representatives wishing to be present at the opening, have to present a letter authorising them to attend the event to the selection board prior to the opening of the bids.

2.21 VALIDITY OF THE BID

The bid has to be valid at least 90 days from the date for submission of the bid.

Variants are not permitted.

2.22 legal instruction:

Legal protection of the bidders, the contracting authority and the public interest in the procedure of awarding the concerned public contract is governed by the Legal Protection in Public Procurement Procedures Act (the Official Gazette of the Republic of Slovenia, Nos. 43/2011, 63/2013; hereafter referred to as LPPPPA).

A request for revision of the call for tender and/or the tender documentation, may be filed in eight working days from the date of publication of the call for tender.

A request for legal protection relating to the published call for tender or tender documentation is not possible if the concerned bidder or any other bidder could have notified the contracting authority, through the Public-Procurement Portal, about an alleged violation but did not use this option. It is considered that the concerned bidder or any other bidder could have drawn attention to the alleged violation if, during the public tendering, the notification about the tender, on the basis of which the bidders submit their bids, was published on the Public-Procurement Portal.

The applicant shall pay a tax of 1,500.00 euros to the bank account of the Ministry of Finance, No. SI56 0110 0100 0358 802, opened at the Bank of Slovenia, Slovenska 35, 1505 Ljubljana, Slovenia, SWIFT CODE: BS LJ SI 2X; IBAN: SI56011001000358802 – a tax for a revision of public procurement.

A request for revision shall be filed in writing directly with the contracting authority, sent by post as registered mail, or sent off as registered mail with an acknowledgement of receipt, or electronically in line with the 1st paragraph of Article 24 of LPPPPA. At the same time the applicant for revision shall send a copy of the revision request also to the Ministry responsible for finance.

Ljubljana, June 2016						Institut  »Jožef Stefan«

Ljubljana

3. TECHNICAL DESCRIPTION AND SPECIFICATIONS OF THE EQUIPMENT

The subject of public tender is a modular spectro-fluorometer, which will enable measurements of fluoroscence lifetimes (down to several microseconds), fluorescence quantum yield, and polarization-specific measurements of transmission and emission spectra in the UV, visible, and near-IR spectral range. The instrument must allow measurements in liquid samples with temperature stabilization and opaque solid samples.

TECHNICAL SPECIFICATIONS:

Irradiation sources:

1. cw Xenon lamp with integrated power supply:

- fitted with ozone free bulb

- spectral range:  250–1000 nm

- output power:  > 400 W (chimney-style construction) or short-arc lamp with ellipsoidal reflector offering matching radiant flux

2. pulsed Xe lamp:

- spectral range:  200–1000 nm

- average power:  60 W or more

- pulse width: < 3 s

- repetition rate:  at least 50 Hz

3. Optical fiber connector (SMA) for introduction of customer's laser source, including:

- beam shaping (collimating) optics

- computer controlled beam stearing mirror/prism

- filter wheel system fitted with 5 ND filters for laser beam attenuation (+ 1 "blank"), mounted inside the instrument

- beam dump

Excitation monochromator:

- focal length: around 300 mm

- aperture ratio:  F/4.1 or larger

- computer controlled entrance and exit knife edge slits

- computer controlled swing mirror for light source selection

- computer controlled triple grating turrets fitted with 2 gratings

- 1st diffraction grating:  holographic, spectral range at least 200–900 nm

(e.g.: 1800 g/mm, blazed at 250 nm)

- 2nd diffraction grating: ruled, at least 400–1350 nm (e.g.: 1200 g/mm, blaze 750 nm)

- stray light rejection: better than 1 : 105

- max. resolution: 0.1 nm

- computer controlled order sorting filters

- electronic shutter

Emission monochromator:

- focal length: around 300 mm

- aperture ratio:  F/4.1 or larger

- computer controlled entrance and exit knife edge slits

- computer controlled swing mirror for light source selection

- computer controlled triple grating turrets fitted with 2 gratings

- 1st diffraction grating: ruled, at least 300–1100 nm	  
(e.g.: 1200 g/mm, blaze 500 nm)

- 2nd diffraction grating: ruled, at least 500–1450 nm	
(e.g.: 830 g/mm, blaze 1200 nm)

- stray light rejection: better than 1 : 105

- max. resolution: 0.2 nm

- computer controlled order sorting filters

- computer controlled shutter

Sample holders (interchangeable):

1. Thermo-electrically cooled (TEC) single cuvette holder:

- must allow measurements of transmission

- temperature range: at least –10 ºC to +105 ºC

2. Front-face sample holder for solid samples:

- must accommodate standard cuvettes and film/slide samples

- linear translation stage for fine positioning

Integrating sphere:

- must accommodate standard cuvettes and solid samples

- must allow absolute measurements of fluorescence quantum yield (by both direct and indirect irradiation of the samples)

- must allow measurements at wavelengths up to 1400 nm

Polarizers

1. Excitation polariser:

- usable spectral range: at least 250–900 nm

- computer controlled

- easily removable from the optical path

2. Emission polariser:  same as the above

3. Transmission polarizer:  same as the above

Mounts/holders for long-pass/ND filters

Detectors

1. Reference detector:  Silicon photodiode (200–1000 nm)

2. Transmission detector:  Silicon photodiode (200–1000 nm)

3. Emission detector 1:  Photomultiplier (PMT)

- usable spectral range: at least 200–1000 nm

- TE cooled housing

- dark count rate: < 100 cps at –20 C

4a. Emission detector 2:  NIR PMT

- usable spectral range:  at least 300–1400 nm

- liquid nitrogen cooled

- dark count rate: < 20,000 cps

or (alternative to 4a):

4b. Emission detector 2:  InGaAs photodiode

- usable spectral range:  at least 800–1500 nm

- liquid nitrogen cooled

- documented signal-to-noise performance comparable to detector 4a in typical cw measurements (e.g. singlet oxygen fluorescence) and allowing lifetime assessment for  > 3 s

Data acquisition electronics

- at least 2 independent scalar channels

Computer Hardware and Software

1. Desktop PC with Windows operating system.

2. Software package for complete spectrometer control (as specified above), data acquisition and analysis, including:

- numerical data manipulation (scaling, subtracting, dividing, smoothing, integration, etc.)

- polarization anisotropy assessment

- absolute measurements of fluorescence quantum yield

- graphical rendering of the results

- file import/export, including ASCII

OTHER REQUIREMENTS:

- Delivery time: no longer than 18 weeks

- Installation and training: at least 1 working day of customer training on installed system

- System warranty

  - 1 year complete coverage

  - 2nd year  (can exclude light sources and detectors)

- Service response time

  - 1 working day for first response (e-mail, phone)

  - max. 10 working days for visit of a qualified professional

FORM  1

4. DETAILS ABOUT THE BIDDER

Details about the bidder:

| Name of the bidder: |  |
| --- | --- |
| Address of the bidder: |  |
| Legal representative of the bidder: |  |
| Contact person: |  |
| E-mail of the contact person: |  |
| Telephone number: |  |
| Fax number: |  |
| Website: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |
| Number of the entry in the register of companies: |  |
| Person responsible for signing the contract: |  |

On the basis of a public tender published on the Public Procurement Portal, on 3rd June 2016, under publication number JN002167/2016-W01 we are applying to your invitation to tender and enclose our offer documents in accordance with the Instructions for the bidders.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: Form must be completed and attached to the bid, if you submit bid individually.

FORM 1.1

GENERAL DATA ABOUT THE BIDDER AND THE CONSORTIUM

Details about the group leader in a joint bid:

| Name of the bidder: |  |
| --- | --- |
| Address of the bidder: |  |
| Legal representative of the bidder: |  |
| Contact person: |  |
| E-mail of the contact person: |  |
| Telephone number: |  |
| Fax number: |  |
| Website: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |
| Number of the entry in the register of companies: |  |
| Person responsible for signing the contract: |  |

On the basis of a public tender published on the Public Procurement Portal, on 3rd June 2016, under publication number JN002167/2016-W01 we are applying to your invitation to tender and enclose our offer documents in accordance with the Instructions for the bidders.

Contract partners in a joint bid and description of work:

| No. | Name of the partner | Description of the work | Value | Share in % |
| --- | --- | --- | --- | --- |
| The group leader in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: Form must be completed and attached to the bid, if you submit joint bid as

consortium.

FORM 2

ACTING WITH SUBCONTRACTORS

Acting as a bidder we are submitting the bid:

|  | a) individually, without subcontractors |
| --- | --- |
|  | b) with the following subcontractors: |

| Nr. | Subcontractors |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |

The bidder shall fulfill the table »Part of the execution of the contract, which will be performed by a subcontractor« for each subcontractor as many times as different parts of the execution of the contract will be taken by each subcontractor.

Part of the execution of the contract, which will be performed by a subcontractor:

| Subcontractor |  |
| --- | --- |
| Description of work |  |
| Quantity |  |
| Value |  |
| Place |  |
| Time of completion |  |

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: Form must be completed and attached to the bid, regardless the fact if you submit

bid individually or with a joint bid with subcontractors

FORM  2.1

THE SUBCONTRACTOR’S AUTHORISATION TO DIRECT PAYMENTS

MADE BY THE CONTRACTING AUTHORITY TO THE SUBCONTRACTOR(S)

AND CONSENT

| Name of the subcontractor: |  |
| --- | --- |
| Address of the subcontractor: |  |
| MunicipalIty of the subcontractor: |  |
| Legal representative of the subcontractor: |  |
| Number of the entry in the register of companies: |  |
| VAT identification number: |  |

In accordance with paragraph 5 of Article 94 of PPA-3 we declare (tick):

YES, we authorise the Contracting Authority to make direct payments;

NO, we do not require direct payments by the Contracting Authority

Subcontractors who authorize the Contracting Authority to make direct payments and above tick YES, by signing this statement give consent to the Contracting Authority to pay the subcontractors' claims against the bidder.

If the bidder will carry out the contract with subcontractors, it must provide the list of all subcontractors and type of work that the subcontractors will be undertaking, contact information and legal representatives of subcontractors and complete a Declaration of complieance with the conditions (FORM 4.1) or ESPD form of subcontractors in accordance with 79. Article of PPA-3 and accompanied by a request for direct payment of the subcontractor if the subcontractor requires .

|  |  | Podizvajalec: |
| --- | --- | --- |
| (kraj, datum) | (žig) | (podpis predstavnika) |

The contracting authority’s note: Form must be completed and attached to the bid, for each subcontractor.

The bidder, who does not act with subcontractors, does not need to submit this form.

FORM 3

5. BID

Details about the bidder:

| Name: |  |  |  |
| --- | --- | --- | --- |
| Address: |  |  |  |
| VAT identification number: |  |  |  |
| Bank account and the name of the bank: |  |  |  |
| Contact person: |  |  |  |
| Contact person's E-mail address: |  |  |  |
| Person responsible for signing the contract: podpis pogodbe: |  |  |  |

JOŽEF STEFAN INSTITUTE

Jamova cesta 39

1000 Ljubljana

| BID No.. Place:. Date:. |
| --- |
| On the basis of the invitation to tender No. 04721/2016 we are pleased to submit the following bid: |  |  |  |  |  |  |  |  |  |
| Type of purchasing: |  | Service |  | Material | x | Equipment |  | Construction |  |

| No. | Description of the goods | Quantity | Price | Discount % | Value |
| --- | --- | --- | --- | --- | --- |
| 1 | MODULAR SPECTROFLUOROMETER | 1 Set |  |  |  |

|  |  |  |  |  |  |  |  | TOTAL |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | DISCOUNT |  |  |
|  |  |  |  |  |  |  |  | VALUE without VAT (EUR) |  |  |
| Delivery time (in weeks): |  |  |  |  |  |  |  |  |  |  |
| Payment terms (30 days after issuing the Invoice): |  |  |  |  |  |  |  |  |  |  |
| Delivery term: |  | DAP Ljubljana (price includes delivery to the client's address) |  |  |  |  |  |  |  |  |
| Warranty period (at least 12 months): |  |  |  |  |  |  |  |  |  |  |
| Validity of the bid: |  |  | 30 September 2016 (or 90 days from the date for submission of the bid) |  |  |  |  |  |  |  |

MANDATORY ENCLOSURE:

Brochures including a complete technical description and specification of the equipment, and the supplier’s Offer/Quotation with technical specifications and a list of components included.

|  |  | The bidder: |
| --- | --- | --- |
|  |  | (signature of the representative) (name and surname) |

6. FORMS FOR ESTABLISHING THE CAPACITIES OF A BIDDER

Statement of the bidder for obtaining personal information from official records

- FORM  4.1 – Declaration of compliance with the conditions

- FORM  4.2 – Statement of the bidder for obtaining personal information from

official records

- FORM  4.3.1 – Promissory note for the seriousness of the bid statement

- FORM  4.3.2 – Bid Bond for seriousness of the bid

FORM  4.1

DECLARATION OF COMPLIANCE WITH THE CONDITIONS

The bidder:

| Name: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |
| VAT identification number: |  |  |  | Registration Nr.: |  |
| Name of the Register Court: |  |  |  |  |  |

We make all the statements listed below under criminal and material liability:

- The economic operator or any individual person, who is a member of its administrative,  management or supervisory body of the said economic operator, or is authorised to represent it, decide on its behalf or supervise it, has not been issued a final judgement with the elements of the following criminal offences, as defined in the Criminal Code (Official Gazette of the Republic of Slovenia no. 50/12- official consolidated text and 54/15; hereinafter: the KZ-1) and as indicated in the first paragraph of Article 75 of the ZJN-3, as follows:

– Terrorism (Article 108 of the KZ-1),

– Financing of Terrorist Activities (Article 109 of the KZ-1),

– Incitement and Public Glorification of Terrorist Activities (Article 110 of the KZ-1),

– Conscripting and Training for Terrorist Activities (Article 111 of the KZ-1),

– Enslavement (Article 112 of the KZ-1),

– Trafficking in Human Beings (Article 113 of the KZ-1),

– Acceptance of Bribe during the Election or Ballot (Article 157 of the KZ-1),

– Violation of Fundamental Rights of Employees (Article 196 of the KZ-1),

– Fraud (Article 211 of the KZ-1),

– Abuse of a Position of Monopoly (Article 225 of the KZ-1),

– False Bankruptcy by Fraud or Business Negligence (Article 226 of the KZ-1),

– Defrauding Creditors (Article 227 of the KZ-1),

– Business Fraud (Article 228 of the KZ-1),

– Fraud to the Detriment of the European Union (Article 229 of the KZ-1),

– Fraud in Obtaining Loans or Benefits (Article 230 of the KZ-1),

– Fraud in Securities Trading (Article 231 of the KZ-1),

– Deception of Purchasers (Article 232 of the KZ-1),

– Unauthorised Use of Another's Mark or Model (Article 233 of the KZ-1),

– Unauthorised Use of Another's Patent or Topography (Article 234 of the KZ-1),

– Forgery or Destruction of Business Documents (Article 235 of the KZ-1),

– Disclosure and Unauthorised Acquisition of Trade Secrets (Article 236 of the KZ-1),

– Breaking into Business Information System (Article 237 of the KZ-1),

– Abuse of Insider Information (Article 238 of the KZ-1),

– Abuse of Financial Instruments Market (Article 239 of the KZ-1),

– Abuse of Position or Trust in Business Activity (Article 240 of the KZ-1),

– Unauthorised Acceptance of Gifts (Article 241 of the KZ-1),

– Unauthorised Giving of Gifts (Article 242 of the KZ-1),

– Counterfeiting Money (Article 243 of the KZ-1),

– Counterfeiting and Use of Counterfeit Stamps of Value or Securities (Article 244 of the KZ-1),

– Money Laundering (Article 245 of the KZ-1),

– Presentation of Bad Cheques and Abuse of Bank or Credit Cards (Article 246 of the KZ-1),

– Use of a Counterfeit Bank, Credit, or Other Card (Article 247 of the KZ-1),

– Fabrication, Acquisition and Disposal of Instruments of Forgery (Article 248 of the KZ-1),

– Tax Evasion (Article 249 of the KZ-1),

– Smuggling (Article 250 of the KZ-1),

– Abuse of Office or Official Duties (Article 257 of the KZ-1),

– Abuse of Public Property (Article 257.a of the KZ-1),

– Disclosure of Classified Information (Article 260 of the KZ-1),

– Acceptance of Bribes (Article 261 of the KZ-1),

– Giving Bribes (Article 262 of the KZ-1),

– Accepting Benefits for Illegal Intermediation (Article 263 of the KZ-1),

– Giving Gifts for Illegal Intermediation (Article 264 of the KZ-1),

– Criminal Association (Article 294 of the KZ-1).

- We meet the obligations related to taxes and other monetary non-fiscal obligations pursuant to the law regulating of the financial administration, collected by the tax authority in line with the provisions of the country in which we have our registered office or in Member State of the Contracting Authority and we have no outstanding liabilities as at the day of submitting the bid worth EUR 50 or more. As at the day of submitting the bid, we have obtained all accounts of tax deductions for the incomes arising from employment relationships for the period of the last five years.

- On the deadline for the submission of bids we are not excluded from the public award procedures due to being included in the record of entities with negative references, as defined in Article 110 of the ZJN-3.

- In the last three years prior to the expiry of the deadline for submitting the bids, we have not been fined twice for an offence related to the payment for work with a final decision of the competent authority of the Republic of Slovenia or another Member State or a third country.

- We meet all the applicable obligations in the area of environmental, social and labour law, laid down in the European Union law, provisions applicable in the Republic of Slovenia, collective agreements or provisions of international environmental, social and labour law.

- No procedure had been initiated against us due to insolvency or compulsory dissolution under the law regulating the insolvency or compulsory dissolution procedures, or liquidation under the law, regulating companies; our assets or business are not managed by a receiver or court; our business activities have not been suspended; no procedure has been initiated against us under the provisions of another country and no situation has arisen with the same legal consequences.

- We have not committed a severe violation of professional rules that would undermine our integrity.

- Our company or a company related to us has not been direct or indirect involved in the preparation of this public procurement procedure.

- Past public contracts signed with the Contracting Authority did not involve significant or constant deficiencies in the fulfilment of key obligations, due to which the Contracting Authority would early terminate the order or contract or claim damage compensation or enforce other comparable sanctions.

- We have a valid registration and all the necessary licences issued by the competent authorities for performing the activity that is the subject matter hereof.

- Our company is reliable, capable of management, has sufficient legal and financial capacities and technical and expert capacities to perform the public tender in question.

and are giving the following

CONSENT

The undersigned agrees that the Jožef Stefan Institute may, as part of the awarding procedure, obtain the data from the official records needed for checking the fulfilment of the requirements from the tender documentation relating to the »SUPPLY AND INSTALLATION OF MODULAR SPECTROFLUOROMETER«.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.2

STATEMENT OF THE BIDDER FOR OBTAINING

PERSONAL INFORMATION FROM OFFICIAL RECORDS

| Name of the bidder: |  |
| --- | --- |
| Address of the bidder: |  |
| Municipaly of the bidder: |  |
| Number of the entry in the register of companies: |  |
| VAT identification number: |  |

We hereby authorise the JOŽEF STEFAN INSTITUTE, Jamova cesta 39, 1000 Ljubljana to obtain statement from the Ministry of Justice relating to the criminal-record data on natural persons for the purpose of checking the fulfilment of the requirements of the public tender,published on the Public Procurement Portal, on 3 June 2016, under publication number JN002167/2016-W01 for all natural persons, authorized as legal representatives:

a)

| Name and surename: |  |
| --- | --- |
| Date of birth: |  |
| Place of birth: |  |
| Municipality of birth: |  |
| Country of birth: |  |
| Permanent/temporary address: |  |
| Signature |  |

b)

| Name and surename: |  |
| --- | --- |
| Date of birth: |  |
| Place of birth: |  |
| Municipality of birth: |  |
| Country of birth: |  |
| Permanent/temporary address: |  |
| Signature |  |

Under criminal and material accountability, we declare that the above information is true and correct. If the contracting authority appears reasonable suspicion, that the bidder, irrespectively of the classification of its bid, submitted false declarations or documents, the contracting authority will submit to National Review Commission a proposal for infringement proceedings from 112.člena of PPA-3

This statement is an integral part of, and an annex to, the bidder’s application relating to the public tender published on the Public Procurement Portal.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.3.1

SAMPLE: PROMISSORY NOTE STATEMENT FOR THE SERIOUSNESS OF THE BID

The bidder:

…………………………

…………………………

…………………………

PROMISSORY NOTE FOR THE SERIOUSNESS OF THE BID

STATEMENT

Referring to our Offer No. ........................ dated .................. enclosed, please find our blank promissory note for the protection of our seriousness of a tender No. JN002167/2016-W01 for the  »SUPPLY AND INSTALLATION MODULAR SPECTRO-FLUOROMETER« in the amount of € 4,000.00.

Authorised person for signature on promissory note:

……………………………………………………………………………………………………………….

(name and surename)						       (signature)

In case we:

- withdraw or amend our bid in the period of its validity, or

- supply false information, or

- refuse to conclude the contract, or

- refuse to submit the performance bond in accordance with the terms of the contract.

we authorize Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana, to complete our blank bill for the amount of our obligation with the clause “without protest”, and that the promissory note depond at ....................................................... or in any other our commercial bank where we have opened our bank account.

DEMAND PROMISSORY NOTE

Irrevocably and unconditionally we authorize ................... bank or any other commercial bank, where we have opened our bank account, to liquidate promissory note and charge our bank account, for the  amount of ..................

This declaration is valid until the expiry date of the offer.

| (place, date) | (stamp) | (signature of the representative) |
| --- | --- | --- |

FORM 4.3.2

SAMPLE: FINANCIAL SECURITY FOR SERIOUSNESS OF THE APPLICATION

(in line with the Uniform Rules for On-Demand Guarantees, EPGP 758)

Date: ……………

To: Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana (name and address of the beneficiary)

TYPE OF FINANCIAL SECURITY: Financial security for seriousness of the application

(Surety bond of the insurance company/Bid Bond from your bank)

REFERENCE NUMBER:  ……………

GUARANTOR: ……………………..……….……………………………………………………………...

CLIENT: ………………………………………………..…(i.e., the bidder in the public-procurement procedure)

BENEFICIARY: Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana (i.e., the awarding authority)

CORE SERVICE: the contractor’s obligation arising from the bid for the public tender, published on the Public-Procurement Portal under JN002167/2016-W01 as of 3 June 2016 for the »SUPPLY AND INSTALLATION OF MODULAR SPECTROFLUOROMETER« (name of the public tender).

AMOUNT AND CURRENCY OF THE BOND: ……………..... euros (in writing: ……………. XX/100 euros)

DOCUMENTS TO BE ATTACHED, IN ADDITION TO THE STATEMENT, TO THE REQUEST FOR PAYMENT, EXPLICITLY DETERMINED IN THE TEXT BELOW: none

LANGUAGE OF THE REQUIRED DOCUMENTS: Slovene or English

MODE OF SUBMISSION: on paper sent as registered mail or any type of express mail

PLACE OF SUBMISSION:…………………………………………………………….…………...

EXPIRY DATE: ………   (30 days after the completion of the tendering procedure)

THE PARTY OBLIGED TO PAY THE ARISING COSTS: (details about the concerned party, usually the name and address of the party requesting the bond)

As the Guarantor, we irrevocably commit ourselves with this guarantee to pay to the Beneficiary any sum up to the amount determined in this tender bond, when the Beneficiary files an appropriate claim for a payment in the above form of submission, signed by the authorised signatory(ies), together with the other documents if required above, and, in any case, together with the Statement of the Beneficiary that can be either included in the Request for Payment or prepared as a separate signed document attached to the Request for Payment or referring to it, and which explains in what sense the Client did not fulfil its commitment relating to the core service.

The Beneficiary has to state in its Statement or its Request for Payment that:

- the Client (the bidder in the public-procurement procedure) withdrew or amended its bid in the period of its validity determined in the bid, or

- the Client, at the request of the Beneficiary, failed to conclude the contract, or

- the Client refuses to submit the performance bond in accordance with the terms of the contract.

Any request for payment in line with this tender bond has to be received within the period of validity of this bond and to the above place of submission.

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana.

This tender bond is subject to the Uniform Rules for On-Demand Guarantees (EPGP), the version revised in 2010 and published by the ICC under No. 758.

|  |  | The issuer: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 5

7. SAMPLE CONTRACT

Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana, Slovenia, represented by the Director, prof. dr. Jadran Lenarčič, henceforth referred to as “the Client”, and

………………………………………………………………….., represented by the Director, ………….,

henceforth referred to as “the Supplier”,

have agreed on the following

C O N T R A C T

Article 1

SUBJECT OF THE CONTRACT

The contracting parties have established that, in line with the Public Procurement Act, the Client awarded the contract to the most cost-effective bidder with regard to the realisation of the supply requirement expressed in the public tender published on the Public Procurement Portal of the Republic of Slovenia under the reference number JN002167/2016-W01.

With this contract the Client and the Supplier agree on their mutual rights and obligations, necessary for the smooth operation of purchasing and selling the following device:

SUPPLY AND INSTALLATION

OF MODULAR SPECTROFLUOROMETER

specified, in detail, in the Quotation/pro-forma invoice with the ref. number ………..... as of ………….... that is an integral part of this contract.

Article 2

VALUE OF THE CONTRACT

The value of the above equipment is …….………….. . The price does not include the VAT.

Article 3

DELIVERY TERMS

The delivery period for the equipment that is the subject of this contract is ………......... after the date of the contract.

The Supplier shall provide, without additional cost to the Client, transportation including insurance and functional installation of the equipment at the client’s address coverage at the Client’s address. The Supplier shall notify the Client of the intended delivery by fax, e-mail, in writing or by telephone, at least 3 working days prior to the delivery.

The Client shall sign the handover note after the equipment has been correctly delivered.

The Supplier shall provide the delivery of the equipment with his own professionally qualified staff or with the subcontractors, listed in tender documentation. If the Client finds that the work is carried out by the subcontractor not listed in the tender, he is entitled to cancel the contract. The Supplier reserves the right to verify any time subcontractor employees performing work. All employees are required to give credible information.

Article 4

PAYMENT TERMS

The Client is obliged to pay an invoice for the goods, i.e., the equipment, within 30 days of the correct issuing of the invoice.

The contracting parties agree that, in the case of a late payment, the Client has to pay the default interest.

In the event of a subcontractor, which requires a direct payment to the supplier empowers the client, on the basis of an approved invoice or by the supplier payments directly to the subcontractor. The subcontractor agrees to the client instead of the supplier settles the subcontractor's claims to the supplier's bank account subcontractor.

Supplier of your account or situation is accompanied by an invoice or situation of a subcontractor, which was previously approved. Direct payments to subcontractors will be made within the time limit specified in the first paragraph of this article.

Article 5

ACCEPTANCE

The acceptance shall be performed on the basis of the Final acceptance certificate (APPENDIX 1), signed by the authorised representatives of both contracting parties, upon a proper delivery of equipment in adequate quality and quantity.

The Supplier will submit to the Client the following documentation:

- Invoice

- Delivery note (with an exact list of delivered parts, data about the gross and net weight)

- Technical documentation and instructions for use

- Precise installation instruction

- Handover note – final acceptance certificate

- Warranty certificate

It is preferable for the documentation to be in Slovene or English.

Article 6

CONTRACTUAL PENALTY

In the case of a delay or incorrect delivery of the equipment, which exceeds two weeks from the supplier’s committed delivery date and does not result from a force majeure or the reasons on the part of the Client, the Supplier shall pay a contractual penalty in the amount of 1‰ of the contractual value for each day of delay in excess of 2 weeks, up to the maximum amount of 10% of the contractual amount.  The contractual penalty shall be subtracted from the Client's payment.

Article 7

SUPPLIER GUARANTEES

The responsibility for keeping the equipment undamaged is transferred from the Supplier to the Client once the equipment is delivered to the Client.

The Supplier guarantees to the Client:

- that the equipment is new, not used and free of any actual and legal defects;

- that the supplied equipment functions perfectly and that it complies fully with all technical descriptions, characteristics and specifications, provided by the Client;

- that the Client shall acquire all the rights related to the equipment, while the Supplier shall duly perform all the obligations related to the equipment.

The Supplier provides the Client with a warrantee to cover the quality of the equipment and its smooth operation at least to an extent equal to the extent of the warrantee given by the producer of the equipment to the Supplier, i.e., ……...years following the date of the receipt of the equipment.

During the warrantee period the Supplier shall provide for emergency services responding to the Client by E-mail or telephone within one working day after the receipt of a notification. If an on-site repair service is needed, the Supplier shall provide it typically within 15 working days after the problem has been identified.

Article 8

ANTI-CORRUPTION CLAUSE

If it is found that, during the execution of the public tendering, on the basis of which this contract has been made, or during the execution of this contract, anyone acting in the name of – or on the account of – the Supplier, has promised, offered or given any undue advantage to the Client (the contracting authority), or those employees that had a decisive influence on the choice of the Supplier, in order:

  - to win this public contract,

  - to conclude this contract under more favourable conditions,

  - to omit due diligence in the supervision of the contract implementation,

  - to carry out any other act or omission causing damage to the Client or allowing the Client or its employees to obtain an undue advantage,

this contract will be void.

In the case of an alleged existence of the conditions from the first paragraph of this article or from a notification of the Commission for the Prevention of Corruption, or any other responsible body, relating to their alleged existence, the Client shall initiate the proceedings for invalidity of the contract from the first paragraph of this article, or any other measures, in line with the regulations of the Republic of Slovenia.

Article 9

SOCIAL CLAUSE

This Contract ceases to be valid if the Contacting Authority is informed that the competent State Authority or Court had established with a final decision that the Bidder (respectively the Contractor or his Subcontractor) has infringed applicable obligations in the area of environmental, social and labour law.

Article 10

FINAL PROVISIONS

The contracting parties shall determine all the amendments to this contract, after a previously reached agreement, with the annexes to this contract.

The contracting parties shall resolve any disagreement relating to the realisation of this contract by common consent.

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana.

This contract comes into force on the day when it is signed by both contracting parties.

The contract is drawn up in four identical copies so that each contracting party receives two copies.

| CLIENT: |  | SUPPLIER |
| --- | --- | --- |
| Jožef Stefan Institute |  |  |
| Director: |  | Director: |
| Prof. Dr. Jadran Lenarčič |  |  |
| Date: |  | Date: |

We herewith declare that the format of this sample contract is acceptable for the bidder.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 6

ENVELOPE

(fille-in the sender and stuck on to the outer envelope of the bid )

| Sender: |  |
| --- | --- |
| Recipient: Institut »Jožef Stefan« vlozisce Jamova cesta 39 SI-1000 Ljubljana SLOVENIA Phone: +386-1-477-3210 Fax: +386-1-477-3189 |  |
| NE ODPIRAJ, PONUDBA! »MODULARNI SPEKTRO-FLUOROMETER«. (Public procurement titje in Slovene). JN002167/2016-W01. (številka objave na Portalu RS oziroma EU. |
| (Date and time – Datum in ura) | (Receiving order – Zaporedna številka predložitve) |

appendix 1: Acceptance certificate for

»SUPPLY AND INSTALLATION

OF MODULAR SPECTROFLUOROMETER«

| Name: |  |
| --- | --- |
| Address: |  |
| VAT identification number: |  |
| Contact person's: |  |
| Contact person's E-mail address: |  |
| Person responsible for signing the contract: |  |
| Contract No.: |  |

| Following Delivery note Nr. |  | of |  | herewith we issue : |
| --- | --- | --- | --- | --- |

| FINAL ACCEPTANCE CERTIFICATE |  | * Nr. |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | place: |  |  |  |  |
|  | date: |  |  |  |  |

| Type of purchasing: |  |  |  | Service |  |  |  | Material | X | Equipment |  |  |  |  | Construction |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Delivery method: | x |  | Supplier |  |  |  | JSI arrangement: |  |  |  |  | Other: |  |  |  |  |

| Nr. | Findings |  | YES |  | NO |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | All the ordered parts or services have been delivered. |  |  |  |  |  |
| 2 | The quality of the supplied parts or services complies with all the terms of the purchase agreement. |  |  |  |  |  |
| 3 | The required quantity of individual components or services has been supplied. |  |  |  |  |  |
| 4 | All the required or necessary documentation is included. |  |  |  |  |  |
| 5 | Allthe manuals including the instruction for use are included. |  |  |  |  |  |
| 6 | All the other required acceptance tests have been carried out (QA) |  |  |  |  |  |
| According to the above findings, we confirm acceptance |  |  |  |  |  |  |

Additional comments:

Supplier shall receive a copy of the signed final acceptance certificate.

| The Supplier: |  | Institut “Jožef Stefan” |  |
| --- | --- | --- | --- |
| (name and surname of the supplie’s representativer) |  | (name and surname of the responsible for the equipment) |  |